## Schnider
S/N | Part Number | Material Description
1 | LC1DT80AM7 | CONTACTOR 80A 220-440VAC 4P(4 NO)
2 | LC1D25E7 | CONTACTOR 25A 48VAC 3P(3 NO)
3 | LC1D40BD | CONTACTOR 40A 600VAC IEC +OPTIONS
4 | C11B3TM063L | CIRCUIT BREAKER ComPact 63A 3P
5 | LC1D38P7 | CONTACTOR 38A 230-440VAC 3P(3 NO)
6 | LC1D09F7 | CONTACTOR 9A 110VAC 3P(3 NO)
7 | ATV12H037M2 | VARIABLE SPEED DRIVE ATV12 0.37kW 0.55HP 200-240V
8 | ATV12H075M2 | VARIABLE SPEED DRIVE ATV12 0.75kW 1HP 200-240V 1PH
9 | ATV12H075M3 | VARIABLE SPEED DRIVE ATV12 0.75kW 1HP 200-240V 3P
10 | ATV312HD11N4 | VARIABLE SPEED DRIVE ATV312 15HP 25kVA 397W 380-500V
11 | ATV312HD15N4 | Variable speed drive ATV312 15kW 32kVA 492W 380-500V
12 | ATV320U15M2C | Variable speed drive ATV320 1.5kW 200-240V
13 | LADN22P | Auxiliary Contact Block 2NO+2NC EN 50012 Screw clamp terminals
14 | LADN20 | Auxiliary Contact Block 2NO Screw clamp terminals
15 | LC1D50AB7 | TeSys D contactor - 3P(3 NO) - AC-3 - <= 440 V 50 A - 24 V AC 50/60 Hz coil
16 | LC1D50B7 | Contactor IEC TeSys D Non-reversing 50A 40HP at 480VAC, up to 100kA SCCR, 3 phase, 3 NO, 24VAC
17 | GGBL1012 | 2-Way Plate Switch -1 gang - 10AX- White
18 | RE17RCMU | Single Function Off-delay Timer Relays 8A 1CO 1s-100h 24-240V AC/DC
19 | RE17RMMW | Power On-delay Timer Relays 8A 1CO 0.1s-10h 12-240V AC/DC
20 | RE17LAMW | On-delay timing relay 1s-100h 24-240V AC/DC Solid state output
21 | VZ3V1213 | Fan for Variable Speed Drive
22 | GV3P13 | Manual Starter and protector 9-13A
23 | METSEDM6200 | Digital Meter with Basic Readings- with communication
24 | VW3A3601 | Communication Module Ethercat 100Mbps 2xRJ45 Connectors
25 | LRD4367 | Thermal Overload Relay 95-120A Class 10A
26 | ATV930U40N4 | VARIABLE SPEED DRIVE ATV930 4KW 400-480V IP21
27 | ATV930U30N4 | VARIABLE SPEED DRIVE ATV930 3KW 400-480V IP21
28 | LC1D115M5 | Contactor 3P(3 NO) 115A 220VAC
29 | LV426119 | Circuit Breaker Compact NSXm 160A 4P 16kA 380/415(IEC)
30 | METSECT5DB200 | Current Transformer Tropicalised 2000 5 double output for bars 38x127
31 | EZC100N3015 | Circuit Breaker 15A 3P 690VAC
33 | EZC100N4016 | Circuit Breaker -TMD- 16A 4P
34 | METSECT5CC010 | Current Transformer Tropicalised DIN Mount 100 5
35 | LAD8N20 | Auxiliary Contact Block 2NO Screw clamp terminals for LC1D09-LC1D150
36 | LC1D38BD | Contactor 3P(3 NO) 338A 24VDC
40 | VW3A8306DRC | Modbus line terminator 120Ohm for screw terminal
41 | ATV320U15M3C | Variable Speed Drive ATV320 1.5kW 200-240V
42 | LA9D4002 | Electrical Interlock Kit For CONT 40-65
43 | ATS01N206QN | Soft starter for asynchronous motor, Altistart 01, ATS01, 6A, 380-415V, 1.5-3kW
44 | LC1D25N7 | Contactor 3P(3 NO) 25A 415VAC
45 | LC1D65008M7 | Contactor 4P(2 NO + 2NC) 80A 220VAC
46 | GV2P21 | Manual Starter and Protector, Thermal Magnetic Circuit Protector 17-23A
47 | CAD50BD | Control Relay 5 NO 24VDC
48 | A9F44201 | Miniature Circuit Breaker 1A 2P Acti9 iC60N
49 | A9N18374 | Miniature Circuit Breaker Acti9 C120N, 4P, 100A, C curve
50 | A9F44263 | Miniature Circuit breaker Acti9 iC60N Disbo, 2P, 63A, C curve
51 | ABL8RED24400 | Redundancy Module 40A For Regulated SMPS
52 | LUB32 | Power Base 32A Screw Clamps
53 | ZBY2387 | 22mm Push Button, legend holder 30 x 40 mm, with legend 8 x 27 mm, marked HAND OFF AUTO
54 | ZBY8140 | Blank legend, unmarked Ø 90 for emergency stop pushbutton
55 | TCSXCNAMUM3P | M238 logic controller terminal port/USB port cord set, 3M
56 | CA3KN40BD | Control Relay 4 NO 24VDC
57 | RSB1A120BDS | Interface plug in relay with socket 12A 1CO 24VDC
58 | RSL1AB4BD | Slim interface plug in relay 6A 1CO 24VDC
59 | RXM4AB2P7 | Miniature Plug In Relay 6A 4CO With LED 230VAC
60 | RXM2AB1P7 | Miniature plug-in relay, 12A, 2 CO, 230 VAC
61 | LADR2 | Time delay auxiliary contact block, 1NO + 1NC, off delay 1-30s, front
62 | LAD7B106 | Adapter terminal block for separate mounting of LRD01-D35 LR3D01-D35
63 | LAD6K10M | CONTACTOR MECH. LATCH CONTACT BLOCK
64 | LADT2 | Pneumatic time delay attachment, on delay, 0.1 to 30 sec, 1 NO and 1 NC
65 | LC1D12G7 | Contactor nonreversing, 12A, 7.5HP at 480VAC 3P 3NO
66 | LC1K0610B7 | Contactor 3P 440V 6A 1NO 24VAC
67 | LC1E2501M5 | Contactor 3P(3 NO) 25A 220VAC
68 | LC1E3201M5 | Contactor 3P(3 NO) 32A 220VAC
69 | LC1E1801M5 | Contactor 3P(3 NO) 18A 220VAC
70 | RM17TG20 | 3-phase control relay, 5A 2CO 208-480VAC
71 | RE17RHMU | Dual Function Relay 8A 1CO 1s-100h On-Delay 24VDC
72 | CAD50M7 | Control Relay 5NO 220VAC
73 | RXZE2S114M | Socket, Electromechanical Relays for RXM2 RXM4 relays
74 | RXM4AB1P7 | Miniature Plug-in Relay 6A 4CO 230VAC
75 | KB32 | Switch 16AX 250V 2Way 2Gang White
76 | RXM040W | Diode 6-250VDC for RPZ/RXZ sockets
77 | RUMC32BD | Universal Plug in Relay 10A 3CO with LED 24VDC
78 | CAD32P7 | Control Relay 3NO + 2NC 230VAC
79 | 50441 | Closed toroid A type ID=200mm 400A
80 | ILE2K661PC1A3 | Brushless DC motor 24-48V 174mm, straight teeth gear, 54:1
81 | KB33 | Switch 16AX 250V 2Way 3Gang White
82 | VW3A1111 | Graphic Display Terminal 240 x 160 pixels, IP65
83 | GGBL3090 | Lisse White moulded - socket-outlet - 15A - 1gang
84 | GGBL1042 | Lisse - Plate switch - 4 gang 2 way - 10AX - white
85 | GGBL1032 | Lisse - Plate switch - 3 gang 2 way - 10AX White
86 | GGBL1022 | Lisse - Plate switch - 2 gangs 2 way - 10AX - white
87 | ATS48D17Q | Soft starter for asynchronous motor, Altistart 48, 14.8A, 230-415V, 3-15kW
88 | ABL8TEQ24100 | Rectified and Filtered Power Supply 3P 400VAC 24V 10A
89 | VCCF0 | Switch disconnector for ON/emergency stop,25A
90 | ABR1S318B | Output interface module - 17.5 mm-24VAC/DC 1C/O
91 | ZA2EE102 | Single contact block for head Ø22, 1 NC
92 | ZA2EE101 | Single contact block for head Ø22, 1 NO
93 | STBXSP3020 | terminal for grounding kit - shielded cable of 5 to 11 mm2
94 | VDI9907 | Multiplus 6 Ports clear Label holder
95 | DZ5CE352 | Cable ends single conductor, red, 35mm², for insulated cable
96 | DZ5CE162D | Cable ends single conductor, blue, 16mm², for insulated cable
97 | DZ5CE102 | CABLE END INSULATED FOR CLIP-IN MARKER, 10MM², MEDIUM SIZE, BROWN
98 | DZ5CE252 | Cable ends single conductor, black, 25mm², for insulated cable
99 | 33121 | Set of Nuts for Connect 4p Ns630b-1600
100 | RXZR335 | mounting accessory maintaining clamp
101 | ATV320U06N4C | variable speed drive, Altivar Machine ATV320, 0.55kW, 380 to 500V, 3 phases, compact
102 | DF2CN06 | Fuse cartridge 10 x 38 mm-gG 6A-w/o indication
103 | ATV320U40N4C | variable speed drive Compact ATV320 4kW 380-500V 3P
104 | ATS01N106FT | soft starter for asynchronous motor ATS01 6A 110-480V 0.75-3kW
105 | ATS01N103FT | Soft starter for asynchronous motor ATS01 3A 110-480V 0.55-1.1kW
106 | VW3A8306R10 | cable for Modbus serial link, Zelio logic, 2 x RJ45, cable 1m
107 | ZB4BZ102 | Single contact block with body fixing collar, metal, screw clamp terminal, 1NC
108 | ATV320U07M3C | Variable speed drive ATV320 0.75kW 200-240V 3P compact
109 | ATV320U04M2C | Variable speed drive ATV320 0.37kW 200-240V 1P Compact
110 | ZB5AW313 | Head for illuminated push button white flush, 22mm, universal LED, spring return, plain lens
111 | ZBE503 | Double contact block's for head Ø22 2NO
112 | XB4BD21 | Selector switch, metal, black, Ø22, 2 positions, stay put, 1 NO
113 | ZENL1111 | Single contact block 1NO
114 | ZBVB3 | Light block for head 22mm green, integral LED, 24V AC DC
115 | ZBV6 | Light block for head 22mm for BA9s bulb, It 250V, screw clamp terminal
116 | ZB4BW0B45 | Light block with body fixing collar metal, red, integral LED, 24V AC DC, 1NO+1NC
117 | XB4BA42 | Push button metal, flush, red, 22mm, spring return, unmarked, 1NC
118 | ZBVB4 | Light block for head 22mm red, integral LED, 24V AC DC
119 | ZBVM3 | Light block for head Ø22, green, integral LED, 230-240VAC
120 | XB5AD21 | 22mm Push Button, 2 position selector switch, black, maintained, 1 NO, marked OFF ON
121 | RXZ400 | Maintaining clamp for RXM sockets, metal
122 | LC1D09B7 | Contactor TeSys D 3P(3 NO) - AC-3 - <= 440 V 9 A - 24 V AC coil
123 | A9F54132 | Miniature Circuit breaker 1P 32A C
124 | A9F73220 | Miniature circuit-breaker, Acti9 iC60N, 2P, 20 A, B curve, 6000 A (IEC 60898-1), 10 kA (IEC 60947-2)
125 | A9N61502 | Miniature circuit breaker - C60H - 1 pole - 2 A - C curve
126 | GB2CB09 | GB2 thermal magnetic circuit protector, 1 P, 4 A, Id = 52 A
127 | A9N18364 | Miniature circuit breaker Acti9 C120N, 3P, 63A, C curve
128 | A9F44132 | Miniature circuit breaker Acti9 iC60N Disbo, 1P, 32A, C curve
129 | A9F54216 | Miniature Circuit breaker Acti9 iC60H 2P 16A C
130 | GV2ME04 | Motor circuit breaker 3P 0.4-0.63A
131 | A9F44302 | Miniature Circuit breaker Acti9 iC60N 3P 2A C
132 | GV2AF4 | Combination block TeSys Deca between GV2(Screw connection) mounted on LAD311 and LC1D09-D38
133 | GV2ME01 | Manual Starter and Protector push buttons 0.1-0.16 A
134 | GV2ME02 | Motor circuit breaker 3P 0.16-0.25 A
135 | GV2ME21 | Motor circuit breaker 3P 17-23A button control
136 | GV2ME03 | Motor circuit breaker TeSys Deca, 3P 0.25-0.4A button control
137 | XZCP1340L10 | Pre wired connectors XZ, elbowed female M12 3 pins cable PUR 10m
138 | XS630B1PBM12 | Inductive sensor XS6 M30 - L74mm -Sn15mm -12-48VDC - M12
139 | XS630B1MAU20 | Inductive sensor XS6 M30 - L73mm -Sn15mm - 24-240VAC/DC - 1/2"
140 | XS630B1PAL10EX | Inductive Proximity Switch 12…48V NO 10M CABLE
141 | XZCP1340L5 | Pre wired connectors XZ, elbowed female, M12, 3 pins, cable PUR 5m
142 | XS630B1MBL2 | Inductive Proximity Sensor 0.591" (15mm) IP68 Cylinder, Threaded - M30
143 | XCKN2145P20 | Limit switch, Limit switches XC Standard, XCKN, 1NC+1 NO, snap, M20
144 | ZCE10 | limit switch head ZCE - metal end plunger
145 | ZCY45 | Limit switch XC Standard, ZCY, thermoplastic roller variable length
146 | XS630B1PAL2 | Inductive sensor XS6 M30 - L62mm - Sn15mm - 12-48VDC - cable 2m
147 | LAD22 | Sheet of labels - blank - 8 x 12mm
148 | ATV930D22N4 | Variable Speed Drive ATV900 ATV930 22kW 400-480V
149 | ATV930D15N4 | Variable Speed Drive ATV900 ATV930 15kW 400-480V
150 | HMISBC | Controller Rear Module panel, Dig 8 inputs/8 outputs +Ana 4 In/2 Out
151 | METSEPM3200 | PowerLogic, PM3200 power meter
152 | 28903 | Switch disconnector 63A 4P
153 | ATS480C32Y | Soft starter Altistart 480, 320A 208-690V AC
154 | ATV930D30N4 | variable speed drive, ATV930, 30kW, 400/480V, with braking unit, IP21
155 | LC1DT40M7 | Contactor 4P(4NO) 40A 220VAC
156 | ATV930U55N4 | Variable speed drive ATV930, 5.5kW, 400-480V
157 | K10F003UCH | K1, K2, Cam changeover switch, 3 poles, with off position 10 A, for Ø 16 or 22 mm
158 | GV2ME32 | Motor circuit breaker TeSys Deca, 3P, 24-32A
159 | LV525332 | Circuit breaker EasyPact 36kA at 415VAC, 200A 3P
160 | LV430841 | circuit breaker Compact NSX160N TMD 125A 3P 3d
161 | LV429841 | Circuit Breaker Compact NSX100N 80A 3P
162 | LV429860 | Circuit Breaker Compact NSX100N 100A 4P
163 | LV432408 | circuit breaker ComPact NSX400N 400A 4P
164 | LV429865 | Circuit Breaker Compact NSX100N 32A 4P
165 | LA1KN22 | Auxiliary contact block TeSys K 2 NO + 2 NC
166 | ZB2BE102 | 22mm Push Button, add on contact block, 1 NC
167 | ZB2BE101 | 22mm Push Button, add on contact block, 1 NO
168 | GVAE20 | Auxiliary Contact TeSys Deca 2 NO
169 | A9N18352 | Miniature circuit-breaker, Acti9 C120N 4P 63A B Curve
170 | A9N18481 | Miniature circuit-breaker Acti9 C120H 4P 125A C curve
171 | A9F44140 | Miniature circuit breaker (MCB), Acti9 iC60N Disbo, 1P, 40A, C curve, 6000A (IEC/EN 60898-1), 10kA (IEC/EN 60947-2)
172 | A9F44220 | Acti9 iC60N 2P 20A C Miniature Circuit breaker
173 | LV431832 | Circuit Breaker Compact NSX250N 160A 3P
174 | LV525331 | Circuit Breaker EasyPact CVS250F 160A 3P
175 | A9F44316 | Miniature Circuit breaker Acti9 iC60N 3P 16A C
176 | LV429633 | Circuit breaker, ComPact NSX100F 50A 3P
177 | A9N60741 | Miniature circuit-breaker Acti9 C120N 4P 80A C curve
178 | 16794 | Residual Current Circuit Breaker 4P 63A
179 | A9F44232 | Miniature Circuit Breaker Acti9 iC60N 2P 32A C
180 | A9N61522 | Miniature Circuit Breaker C60H 2P 2A C curve
181 | A9F74120 | Miniature Circuit Breaker iC60N 1P 20A C curve
182 | A9F44250 | Miniature Circuit Breaker Acti9 iC60N 2P 50A C
183 | A9N61503 | Miniature Circuit Breaker C60H 1P 3A C curve
184 | A9S65391 | Switch Disconnector iSW 3P 100A 415 V
185 | A9F75425 | Miniature Circuit Breaker Acti9 iC60N, 4P, 25A, D curve
186 | A9F54202 | Miniature Circuit Breaker Acti9 iC60H 2P 2A C
187 | A9F75104 | Miniature Circuit Breaker Acti9 iC60N, 1P, 4A, D curve
188 | A9R41225 | Residual Current Circuit Breaker Acti 9 iID 2P 25A 30mA type AC
189 | A9F75101 | Miniature Circuit Breaker Acti9 iC60N 1P 1A D curve
190 | ABL8WPS24200 | Regulated switch power supply 3P 380-500VAC 24V 20A
191 | BLRCH250A300B40 | VarPlus Can HDuty Capacitor 25/30 kvar 400 V
192 | C12H3TM125L | Circuit Breaker ComPacT NSXm H 32P 125A
193 | A9F44350 | Miniature Circuit Breaker Acti9 iC60N Disbo 3P 50A C curve
194 | C11H3TM100L | Circuit Breaker ComPacT NSXm 160H 3P 100A
195 | A9F73216 | Miniature circuit breaker Acti9 iC60N 16A 2P 6000A (IEC/EN 60898-1), 10kA (IEC/EN 60947-2)
196 | C11B3TM080L | Circuit Breaker ComPacT NSXm 160B 3P 80A 25kA/415VAC
197 | ATV320D15N4B | Variable Speed Drive ATV320 15kW 3380-500V 3P
198 | ATV930D11N4 | Variable Speed Drive ATV930 11kW 400-480V IP21
199 | ATV930U75N4 | Variable Speed Drive ATV930 7.5kW 400-480V IP21
200 | ATV930D90N4 | Variable Speed Drive ATV930 90kW 400-480V IP21
201 | ATV930D45N4 | Variable Speed Drive ATV930 45kW 400-480V IP21
202 | ATV930D55N4 | Variable Speed Drive ATV930 55kW 400-480V IP21
203 | ATV630D37N4 | Variable Speed Drive ATV630 37kW 50hp 380-480V IP21
204 | ATV630C16N4F | Variable Speed Drive ATV630 160kW 380-480V IP21
205 | ATV650U40N4 | Variable Speed Drive ATV 650 4kW 400-480V IP55
206 | ATV650D90N4 | Variable Speed Drive ATV 650 90kW 400-480V IP55
207 | RSB2A080P7S | Plug-in relay 8A 250VAC 230V 2C/O
208 | RSZE1S48M | Socket 10A 2C/O 3.5mm 250VAC
209 | A9N18376 | Miniature circuit breaker (MCB), Acti9 C120N, 4P, 125A, C curve, 10000A (IEC/EN 60898-1), 10kA (IEC/EN 60947-2)
210 | ATS22C11Q | soft starter-ATS22-control 220V-power 230V(39kW)/400-440V(55kW)
211 | ATS22D17Q | soft starter for asynchronous motor, Altistart 22, control 230V, 230 to 440V, 4 to 7.5kW
212 | ATS480D47Y | Soft starter, Altistart 480, 47A, 208 to 690V AC, control supply 110 to 230V AC
213 | LC1D18BD | Tesys D contactor - 3P(3 NO) - AC-3 - <= 440 V 18 A - 24 V DC coil
214 | LV563316 | circuit breaker EasyPact CVS630N, 50 kA at 415 VAC, 600 A rating thermal magnetic TM-D trip unit, 3P 3d
215 | LC1DT32M7 | TeSys; TeSys Deca, Contactor, 4P(4 NO), AC-1, <= 440V, 32A, 220V AC 50/60Hz coil, screw terminal
216 | LADN01 | TeSys; TeSys Deca, Auxiliary contact block, 1NC, front mounting, screw clamp terminal
217 | LADN10 | TeSys; TeSys Deca, Auxiliary contact block, 1NO, front mounting, screw clamp terminals
218 | LP1K1201BD | Contactor, TeSys K, 3P, AC-3, lt or eq to 440V, 12A, 1 NC aux, 24VDC coil
219 | LADN02 | Auxiliary contact block, TeSys D, 2NC, front mounting, screw clamp terminals
220 | A9F44440 | Miniature circuit breaker (MCB), Acti9 iC60N Disbo, 4P, 40A, C curve, 6000A (IEC/EN 60898-1), 10kA (IEC/EN 60947-2)
221 | GVAN20 | TeSys; TeSys Deca, - auxiliary contact block - 2 NO
222 | GVAD0110 | TeSys GV2 & GV3, auxiliary contact, 1 NO + 1 NC (fault)
223 | LRD3365 | TeSys LRD thermal overload relays - 80...104 A - class 10A
224 | LRD332 | TeSys LRD thermal overload relays - 23...32 A - class 10A
225 | 47894 | Gear motor MCH, drawout MasterPact NW, 200/240VAC 50/60Hz, spare part
226 | LC1DT25M7 | TeSys; TeSys Deca, Contactor, 4P(4 NO), AC-1, 0 to 440V, 25A, 220VAC 50/60Hz coil
227 | LC1DT60AM7 | TeSys; TeSys Deca, Contactor, 4P(4 NO), AC-1, 0 to 440V, 60A, 220VAC 50/60Hz coil
228 | LC1D40AM7 | TeSys; TeSys Deca, Contactor, 3P(3 NO), AC-3/AC-3e, 0 to 440V, 40A, 220VAC 50/60Hz coil
229 | LC1DT20M7 | TeSys D contactor - 4P(4 NO) - AC-1 - <= 440 V 20 A - 220 V AC 50/60 Hz coil
230 | LV432598 | LV432598 - Extended rotary handle, Compact NSX 400/630, PowerPact Multistandard L, EasyPact CVS 400/630, black standard handle, IP55
231 | 33671 | Standard opening undervoltage release MN, ComPacT NS630b/NS3200, fixed, 200/250V AC/DC, spare part
232 | LADT4 | TeSys; TeSys Deca, Time delay auxiliary contact block, 1NO + 1NC, on delay 10-180s, front, screw clamp terminals
233 | LP1K0901BD | TeSys K contactor - 3P - AC-3 <= 440 V 9 A - 1 NC aux. - 24 V DC coil
234 | A9F79416 | Miniature circuit breaker (MCB), Acti9 iC60N, 4P, 16A, C curve, 6000A (IEC/EN 60898-1), 10kA (IEC/EN 60947-2)
235 | LVS04477 | Connection, PrismaSeT P, for NS-MTZ1/NT, 3P, 1250A, withdrawable
236 | LVS03221 | Divisible blanking plate, PrismaSeT P & G, 4M, W90mm
237 | LVS08794 | Cable-tie support, PrismaSeT P, D400, Set of 4
238 | AK2CD25 | Cover for cable duct - Width=25mm
239 | RSL1PRBU | slim interface relay, Harmony Electromechanical Relays, pre assembled, 6A, 1CO, with LED, spring terminals, 24V AC/DC
240 | SSL1D03BD | plug in relay, Harmony Solid State Slim Relays, 3.5A, DC switching, input 15 to 30V DC, output 1 to 24V DC
241 | A9F74216 | Miniature circuit-breaker, Acti9 iC60N, 2P, 16 A, C curve, 6000 A (IEC 60898-1), 10 kA (IEC 60947-2)
242 | RSB2A080BDPV | Interface plug-in relay, Harmony electromechanical relays, pre-assembled, 8A, 2CO, with LED, 24V DC
243 | ATS22C41Q | soft starter for asynchronous motor, Altistart 22, control 230V, 230 to 440V, 110 to 220kW
244 | ATS480D62Y | Soft starter, Altistart 480, 62A, 208 to 690V AC, control supply 110 to 230V AC
245 | ATS480D75Y | Soft starter, Altistart 480, 75A, 208 to 690V AC, control supply 110 to 230V AC
246 | DC6PCURJ02YLM | Category 6, Patch Cord, UTP, 2M, Yellow
247 | DC6PCURJ02GYM | Category 6, Patch Cord, UTP, 2M, Grey
248 | DC6PCURJ02BLM | Category 6, Patch Cord, UTP, 2M, Blue
249 | RSZE1S35M | socket, for RSB1A120 relays, Harmony Electromechanical Relays, 12A, screw connec to rs, separate contact
250 | LC1D80BD | IEC contactor, TeSys Deca, nonreversing, 80A, 60HP at 480VAC, up to 100kA SCCR, 3 phase, 3 NO, 24VDC coil, open style
251 | LC1F265P7 | TeSys F contactor - 3P (3 NO) - AC-3 - <= 440 V 265 A - coil 230 V AC
252 | VW3A3607 | communication module Profibus DP V1, Altivar, 12Mbps, 1 female SUB D9 connector
253 | LC1D80P7 | TeSys D contactor - 3P(3 NO) - AC-3 - <= 440 V 80 A - 230 V AC 50/60 Hz coil
254 | A9D37632 | Acti 9 iDPN H Vigi - RCBO - 1P+N - 32A - C Curve - 10000A - 30mA - type A
255 | EZ9F56440 | Miniature circuit breaker (MCB), Easy9, 4P, 40A, C curve, 6000A (IEC/EN 60898-1)
256 | GV3P73 | TeSys GV3P thermal-magnet motor circuit breaker 62-73A EverLink
257 | XB4BVB5 | Pilot light, Harmony XB4, grey plastic, orange, 22mm, universal LED, plain lens, 24V AC DC
258 | 33878 | extended rotary handle, front control, Compact NS630b to 1600, black handle
259 | LC1D50M7 | CONTACTOR 600VAC 50AMP IEC +OPTIONS
260 | LAD8N02 | Auxiliary contact block, TeSys Deca, 2NC, side mounting, screw clamp terminals
261 | EZC100N4032 | circuit breaker Easypact EZC100N - TMD - 32 A - 4 poles 3d
262 | A9F44450 | Acti9 iC60N 4P 50A C Miniature Circuit breaker
263 | A9N18372 | Miniature circuit breaker (MCB), Acti9 C120N, 4P, 80A, C curve, 10000A (IEC/EN 60898-1), 10kA (IEC/EN 60947-2)
264 | EZC250N4160 | circuit breaker, EasyPact EZC250N, TMD, 160A, 4 poles 3d
265 | ATS22C48Q | soft starter-ATS22-control 220V-power 230V(132kW)/400...440V(250kW)
266 | A9F44425 | Acti9 iC60N 4P 25A C Miniature Circuit breaker
267 | LC1D150P7 | TeSys D contactor, 3P(3 NO), AC-3, <= 440 V 150 A, 230 VAC 50/60 Hz coil
268 | ATV630D55N4 | variable speed drive ATV630 - 55kW/75HP - 380...480V - IP21/UL type 1
269 | ATV630D11N4 | Variable speed drive, Altivar Process ATV600, ATV630, 11kW/15 hp, 380...480 V, IP21/UL type 1
270 | ATS480C17Y | Soft starter, Altistart 480, 170A, 208 to 690V AC, control supply 110 to 230V AC
271 | ATV630D22N4 | Variable speed drive, Altivar Process ATV600, ATV630, 22kW/30 hp, 380...480 V, IP21/UL type 1
272 | 31107 | switch disconnector, Compact INS250 , 250 A, standard version with black rotary handle, 4 poles
273 | EZ9F56220 | Easy9 miniature circuit breaker- 2P - 20 A - C curve - 6000 A - 230 V
274 | EZ9F56225 | Easy9 miniature circuit breaker- 2P - 25 A - C curve - 6000 A - 230 V
275 | A9F75116 | Miniature circuit-breaker, Acti9 iC60N, 1P, 16 A, D curve, 6000 A (IEC 60898-1), 10 kA (IEC 60947-2)
276 | ABL8RPS24050 | universal power supply, Phaseo, 1 or 2 phase, 100 to 500 V, 24 V, 5 A
277 | A9F74101 | Miniature circuit-breaker, Acti9 iC60N, 1 pole, 1 A, C curve, 6000 A (IEC 60898-1), 50 kA (IEC 60947-2)
278 | A9K24210 | miniature circuit breaker - iK60N - 2P - 10 A - C curve
279 | A9K24202 | miniature circuit breaker - iK60N - 2P - 2 A - C curve
280 | LADN40 | Auxiliary contact block, TeSys D, 4NO, front mounting, screw clamp terminals
281 | XA2ED21 | selector switch - Ø22 - standard handle - 2 positions - 1NO
282 | EZC100F3020 | circuit breaker Easypact EZC100F - TMD - 20 A - 3 poles 3d
283 | LC1D40AP7 | Contactor, TeSys Deca, 3P(3 NO), AC-3/AC-3e, <=400V, 40A, 230V AC 50/60Hz coil, screw clamp terminals
284 | ATS01N222QN | soft starter for asynchronous motor - ATS01 - 22 A - 380..415V - 7.5..11 KW
285 | A9N18375 | Miniature circuit-breaker, Acti9 C120N, 3P+N, 100 A, C curve, 10000 A (IEC 60898-1), 10 kA (IEC 60947-2)
286 | A9F44410 | Acti9 iC60N 4P 10A C Miniature Circuit breaker
287 | A9F44304 | Acti9 iC60N 3P 4A C Miniature Circuit breaker
288 | LADR4 | Time delay auxiliary contact block, TeSys D, 1NO + 1NC, off delay 10-180s, front, screw clamp terminals
289 | A9F54102 | Acti9 iC60H 1P 2A C Miniature Circuit breaker
290 | A9F54432 | Acti9 iC60H 4P 32A C Miniature Circuit breaker
291 | EZC250F3250 | circuit breaker,EasyPact EZC250F ,TMD, 250A ,3 poles 3d
292 | LC1D25P7 | Contactor, TeSys Deca, 3P(3NO), AC-3/AC-3e, <=440V, 25A, 230V AC 50/60Hz coil, screw clamp terminals
293 | LC1D09P7 | Contactor, TeSys Deca, 3P(3NO), AC-3/AC-3e, <=440V, 9A, 230V AC 50/60Hz coil, screw clamp terminals
294 | RXM2AB2BD | Harmony, Miniature plug-in relay, 12 A, 2 CO, with LED, with lockable test button, 24 V DC
295 | RXM2AB1BD | Harmony, Miniature plug-in relay, 12 A, 2 CO, with lockable test button, 24 V DC
296 | ATS22C25Q | Soft starter-ATS22-control 220V-power 230V(75kW)/400-440V(132kW)
297 | 33475 | Circuit breaker, ComPact NS1000N, 50kA/415VAC, Micrologic 2.0 trip unit, 1000A, fixed, 4 poles 4d
298 | LA9D4002 | Mechanical and electrical interlock, TeSys D reversing & changeover, 2 contactors LC1D80-D95 AC coil
299 | 33480 | Circuit breaker, ComPact NS1250N, 50kA/415VAC, Micrologic 2.0 trip unit, 1250A, fixed, 4 poles 4d
300 | RXZE2M114 | Harmony, Socket, for RXM2/RXM4 relays, screw clamp terminals, mixed contact
301 | LVS04403 | LINERGY FC DISTRIBUTION BLOCK FOR COMPACT NSX250 3P TOGGLE/FIXED+CONNECTION
302 | EZ9F56125 | Easy9 miniature circuit breaker- 1P - 25 A - C curve - 6000 A - 230 V
303 | EZ9F56116 | Easy9 miniature circuit breaker- 1P - 16 A - C curve - 6000 A - 230 V
304 | ATV630D55N4 | variable speed drive ATV630 - 55kW/75HP - 380...480V - IP21/UL type 1
305 | ZB6EB4B | Complete body for pilot lights, Harmony XB6, red light block with body/fixing collar with integral LED 12...24 V
306 | RXZE2S108M | Harmony, Socket, for RXM2 relays, screw connectors, separate contact
307 | LRD06 | TeSys LRD thermal overload relays - 1...1.6 A - class 10A
308 | ZB4BC4 | Head for non illuminated pushbutton, Harmony XB4, mushroom 40mm, metal, red, 22mm, spring return
309 | C10N3TM063 | Circuit breaker ComPacT NSX100N, 50kA at 415VAC, TMD trip unit 63A, 3 poles 3d
310 | MVS25N4MW2A | Circuit breaker, EasyPact MVS, 4 Poles, 2500A, 50kA, MDO, ETA2, drawout, manual
311 | MVS32N4MW2A | Circuit breaker, EasyPact MVS, 4 Poles, 3200A, 50kA, MDO, ETA2, drawout, manual

## Siemens
S/No | Part Number | Item Description
| 3VJ1002-0DA32-0AA0 | MCCB_IEC_FS0_125A_TM_FTFM_3P_10kA_20A
| 3VJ1002-0EA42-0AA0 | MCCB_IEC_FS0_125A_TM_FTFM_4P_10kA_20A
| 3VJ1003-0DA32-0AA0 | MCCB_IEC_FS0_125A_TM_FTFM_3P_10kA_32A
| 3VJ1003-0EA42-0AA0 | MCCB_IEC_FS0_125A_TM_FTFM_4P_10kA_32A
| 3VJ1006-0DA32-0AA0 | MCCB_IEC_FS0_125A_TM_FTFM_3P_10kA_63A
| 3VJ1006-0EA42-0AA0 | MCCB_IEC_FS0_125A_TM_FTFM_4P_10kA_63A
| 3VJ1008-0DA32-0AA0 | MCCB_IEC_FS0_125A_TM_FTFM_3P_10kA_80A
| 3VJ1008-0EA42-0AA0 | MCCB_IEC_FS0_125A_TM_FTFM_4P_10kA_80A
| 3VJ1010-1DA32-0AA0 | MCCB_IEC_FS0_125A_TM_FTFM_3P_18kA_100A
| 3VJ1010-1EA42-0AA0 | MCCB_IEC_FS0_125A_TM_FTFM_4P_18kA_100A
| 3VJ1216-3DA32-0AA0 | MCCB_IEC_FS2_250A_TM_FTFM_3P_25kA_160A
| 3VJ1216-3EA42-0AA0 | MCCB_IEC_FS2_250A_TM_FTFM_4P_25kA_160A
| 3VJ1220-3DA32-0AA0 | MCCB_IEC_FS2_250A_TM_FTFM_3P_25kA_200A
| 3VJ1220-3EA42-0AA0 | MCCB_IEC_FS2_250A_TM_FTFM_4P_25kA_200A
| 3VJ1225-3DA32-0AA0 | MCCB_IEC_FS2_250A_TM_FTFM_3P_25kA_250A
| 3VJ1225-3EA42-0AA0 | MCCB_IEC_FS2_250A_TM_FTFM_4P_25kA_250A
| 3VJ1340-5DA32-0AA0 | MCCB_IEC_FS3_400A_TM_FTFM_3P_36kA_400A
| 3VJ1340-5EA42-0AA0 | MCCB_IEC_FS3_400A_TM_FTFM_4P_36kA_400A
| 3VJ1463-7DA32-0AA0 | MCCB_IEC_FS4_630A_TM_FTFM_3P_ 55KA_630A
| 3VJ1463-7EA42-0AA0 | MCCB_IEC_FS4_630A_TM_FTFM_4P_55KA_630A
| 5TJ3106-7 | MCB_5TJ3_4,5kA_1p_C curve_6A
| 5TJ3110-7 | MCB_5TJ3_4,5kA_1p_C curve_10A
| 5TJ3113-7 | MCB_5TJ3_4,5kA_1p_C curve_13A
| 5TJ3116-7 | MCB_5TJ3_4,5kA_1p_C curve_16A
| 5TJ3120-7 | MCB_5TJ3_4,5kA_1p_C curve_20A
| 5TJ3125-7 | MCB_5TJ3_4,5kA_1p_C curve_25A
| 5TJ3132-7 | MCB_5TJ3_4,5kA_1p_C curve_32A
| 5TJ3140-7 | MCB_5TJ3_4,5kA_1p_C curve_40A
| 5TJ3206-7 | MCB_5TJ3_4,5kA_2p_C curve_6A
| 5TJ3210-7 | MCB_5TJ3_4,5kA_2p_C curve_10A
| 5TJ3216-7 | MCB_5TJ3_4,5kA_2p_C curve_16A
| 5TJ3220-7 | MCB_5TJ3_4,5kA_2p_C curve_20A
| 5TJ3225-7 | MCB_5TJ3_4,5kA_2p_C curve_25A
| 5TJ3232-7 | MCB_5TJ3_4,5kA_2p_C curve_32A
| 5TJ3263-7 | MCB_5TJ3_4,5kA_2p_C curve_63A
| 5TJ3310-7 | MCB_5TJ3_4,5kA_3p_C curve_10A
| 5TJ3316-7 | MCB_5TJ3_4,5kA_3p_C curve_16A
| 5TJ3320-7 | MCB_5TJ3_4,5kA_3p_C curve_20A
| 5TJ3325-7 | MCB_5TJ3_4,5kA_3p_C curve_25A
| 5TJ3332-7 | MCB_5TJ3_4,5kA_3p_C curve_32A
| 5TJ3340-7 | MCB_5TJ3_4,5kA_3p_C curve_40A
| 5TJ3350-7 | MCB_5TJ3_4,5kA_3p_C curve_50A
| 5TJ3363-7 | MCB_5TJ3_4,5kA_3p_C curve_63A
| 5TJ3425-7 | MCB_5TJ3_4,5kA_4p_C curve_25A
| 5TJ3432-7 | MCB_5TJ3_4,5kA_4p_C curve_32A
| 5TJ3440-7 | MCB_5TJ3_4,5kA_4p_C curve_40A
| 5TJ3450-7 | MCB_5TJ3_4,5kA_4p_C curve_50A
| 5TJ3463-7 | MCB_5TJ3_4,5kA_4p_C curve_63A
| 5TJ6106-7 | MCB_5TJ6_6kA_1p_C curve_6A
| 5TJ6110-7 | MCB_5TJ6_6kA_1p_C curve_10A
| 5TJ6116-7 | MCB_5TJ6_6kA_1p_C curve_16A
| 5TJ6120-7 | MCB_5TJ6_6kA_1p_C curve_20A
| 5TJ6125-7 | MCB_5TJ6_6kA_1p_C curve_25A
| 5TJ6132-7 | MCB_5TJ6_6kA_1p_C curve_32A
| 5TJ6140-7 | MCB_5TJ6_6kA_1p_C curve_40A
| 5TJ6206-7 | MCB_5TJ6_6kA_2p_C curve_6A
| 5TJ6210-7 | MCB_5TJ6_6kA_2p_C curve_10A
| 5TJ6216-7 | MCB_5TJ6_6kA_2p_C curve_16A
| 5TJ6220-7 | MCB_5TJ6_6kA_2p_C curve_20A
| 5TJ6225-7 | MCB_5TJ6_6kA_2p_C curve_25A
| 5TJ6232-7 | MCB_5TJ6_6kA_2p_C curve_32A
| 5TJ6240-7 | MCB_5TJ6_6kA_2p_C curve_40A
| 5TJ6310-7 | MCB_5TJ6_6kA_3p_C curve_10A
| 5TJ6316-7 | MCB_5TJ6_6kA_3p_C curve_16A
| 5TJ6320-7 | MCB_5TJ6_6kA_3p_C curve_20A
| 5TJ6325-7 | MCB_5TJ6_6kA_3p_C curve_25A
| 5TJ6332-7 | MCB_5TJ6_6kA_3p_C curve_32A
| 5TJ6340-7 | MCB_5TJ6_6kA_3p_C curve_40A
| 5TJ6350-7 | MCB_5TJ6_6kA_3p_C curve_50A
| 5TJ6363-7 | MCB_5TJ6_6kA_3p_C curve_63A
| 5TJ6406-7 | MCB_5TJ6_6kA_4p_C curve_6A
| 5TJ6420-7 | MCB_5TJ6_6kA_4p_C curve_20A
| 5TJ6425-7 | MCB_5TJ6_6kA_4p_C curve_25A
| 5TJ6432-7 | MCB_5TJ6_6kA_4p_C curve_32A
| 5TJ6440-7 | MCB_5TJ6_6kA_4p_C curve_40A
| 5TJ6450-7 | MCB_5TJ6_6kA_4p_C curve_50A
| 5TJ6463-7 | MCB_5TJ6_6kA_4p_C curve_63A
| 3VJ9018-0HD11 | Rotary Handle for MCCB 20A - 100A 3p&4P
| 3VJ9218-0HD11 | Rotary Handle for MCCB 160A - 250A
| 3VJ9417-0HD11 | Rotary Handle for MCCB 400A - 630A